## Revision
Revision
Rev. | Num. | Date | Description | Autor
0 |  | 2025-02-05 | First emission | Righi
1 |  | 2025-03-18 | Update | Righi
2 |  | 2025-04-28 | Update | Righi
3 |  | 2025-07-04 | IO Addresses | Massoletti

## Remote List
ELECTRICAL INFO | [6 empty] | SW INFORMATION
REV | PHASE | REMOTE ID | ID LINE COMPONENT | CARD ID | CARD TYPE | SIEMENS CODE | SUBNET 1 | IP ADDR 1 | SUBNET 2 | IP ADDR 2 | PB ADDR 1 | PB ADDR 2 | PZD ADDR | I ADDR | O ADDR | MOVIGEAR DI | MOVIGEAR DO | MOVIMOT DI | MOVIMOT DO | MOVIFIT DI | MOVIFIT DO | NORD DI | NORD DO | SIEMENS DI | SIEMENS DO | LENZE DI | LENZE DO
=NT23++AE00+MCPHF12
|  | =NT23++AE00+MCPHF12-310K1 |  |  | SCALANCE XC208 | SIE.6GK5208-0BA00-2AC2
|  | =NT23++AE00+MCPHF12-330K1 |  |  | SIMATIC HMI MTP1200 Comfort | SIE.6AV2128-3MB06-0AX1
|  | =NT23++AE00+MCPHF12-335K1 |  |  | SIMATIC S7-1500F Comfort | SIE.6ES7516-3FP03-0AB0
|  | =NT23++AE00+MCPHF12-340K1 |  |  | IM 155-6 PN/2 HF | SIE.6ES7155-6AU01-0CN0
|  | =NT23++AE00+MCPHF12-340K2 |  |  | F-DI 8X24VDC HF | SIE.6ES7136-6BA01-0CA0
|  | =NT23++AE00+MCPHF12-340K3 |  |  | F-DI 8X24VDC HF | SIE.6ES7136-6BA01-0CA0
|  | =NT23++AE00+MCPHF12-340K4 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPHF12-340K5 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPHF12-340K6 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPHF12-341K1 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
|  | =NT23++AE00+MCPHF12-341K2 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
|  | =NT23++AE00+MCPHF12-341K3 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
=NT23++MCPHF12
|  | =NT23++HF12+ST005-T0001 | HF12ST005
|  | =NT23++HF12+ST009-T0001 | HF12ST009

## IO List
FIELD | [8 empty] | CARD TYPE | [6 empty] | REMOTE |  |  | PLC
ELETTRICAL INFO | [5 empty] | SW INFORMATION | ELETTRICAL INFO | [12 empty] | SW INFORMATION
REV | PHASE | Eletrical Equipment | Function | ID LINE COMPONENT | Electrical TAG | SW TAG | SIGNAL DESCRIPTION | EQUIPMENT LOCATION | DI SAFE | DO SAFE | DI | DO | AI | AO | HIGH SPEED COUNTER | HARD WIRED TO | CARD ID | PIN | I/O ADDR | SCADA ALARM | NOTE
REV 0 | - | -350S1 | AUX |  | =NT23++AE00+MCPHF12-350S1 | MCPHF12_350S1_EMERGENCY_STOP_PUSH_BUTTON_CH1 | EMERGENCY STOP PUSH BUTTON - CH1 | ++AE00+MCPHF12 | 1 | [6 empty] | -340K1 | -340K2 | 1 | I0.0
REV 0 | - | -100S1 | AU_HF12EB001 | HF12EB001 | =NT23++HF12+EB001-100S1 | HF12_EB001_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++HF12+EB001 | 1 | [6 empty] | -340K1 | -340K2 | 2 | I0.1
REV 0 | - | -100S1 | AUS_HF12EB002 | HF12EB002 | =NT23++HF12+EB002-100S1 | HF12_EB002_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++HF12+EB002 | 1 | [6 empty] | -340K1 | -340K2 | 3 | I0.2
REV 0 | - | -100S1 | AUS_HF12EB003 | HF12EB003 | =NT23++HF12+EB003-100S1 | HF12_EB003_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++HF12+EB003 | 1 | [6 empty] | -340K1 | -340K2 | 4 | I0.3
REV 0 | - | -350S1 | AUX |  | =NT23++AE00+MCPHF12-350S1 | MCPHF12_350S1_EMERGENCY_STOP_PUSH_BUTTON_CH2 | EMERGENCY STOP PUSH BUTTON - CH2 | ++AE00+MCPHF12 | 1 | [6 empty] | -340K1 | -340K2 | 5 | I0.4
REV 0 | - | -100S1 | AU_HF12EB001 | HF12EB001 | =NT23++HF12+EB001-100S1 | HF12_EB001_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++HF12+EB001 | 1 | [6 empty] | -340K1 | -340K2 | 6 | I0.5
REV 0 | - | -100S1 | AUS_HF12EB002 | HF12EB002 | =NT23++HF12+EB002-100S1 | HF12_EB002_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++HF12+EB002 | 1 | [6 empty] | -340K1 | -340K2 | 7 | I0.6
REV 0 | - | -100S1 | AUS_HF12EB003 | HF12EB003 | =NT23++HF12+EB003-100S1 | HF12_EB003_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++HF12+EB003 | 1 | [6 empty] | -340K1 | -340K2 | 8 | I0.7
REV 0 | - | -351X1:2 |  |  | =NT23++AE00+MCPHF12-351X1:2 | MCPHF12_351X1_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 1 | I7.0
REV 0 | - | -351X2:2 |  |  | =NT23++AE00+MCPHF12-351X2:2 | MCPHF12_351X2_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 2 | I7.1
REV 0 | - | -351X3:2 |  |  | =NT23++AE00+MCPHF12-351X3:2 | MCPHF12_351X3_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 3 | I7.2
REV 0 | - | -351X4:2 |  |  | =NT23++AE00+MCPHF12-351X4:2 | MCPHF12_351X4_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 4 | I7.3
REV 0 | - | -351X1:4 |  |  | =NT23++AE00+MCPHF12-351X1:4 | MCPHF12_351X1_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 5 | I7.4
REV 0 | - | -351X2:4 |  |  | =NT23++AE00+MCPHF12-351X2:4 | MCPHF12_351X2_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 6 | I7.5
REV 0 | - | -351X3:4 |  |  | =NT23++AE00+MCPHF12-351X3:4 | MCPHF12_351X3_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 7 | I7.6
REV 0 | - | -351X4:4 |  |  | =NT23++AE00+MCPHF12-351X4:4 | MCPHF12_351X4_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K3 | 8 | I7.7
REV 0 | - | -450S1 | AUX |  | =NT23++AE00+MCPHF12-450S1 | MCPHF12_450S1_EMERGENCY_RESET | EMERGENCY RESET | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 1 | I30.0
REV 0 | - | -450S2 | AUX |  | =NT23++AE00+MCPHF12-450S2 | MCPHF12_450S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 2 | I30.1
REV 1 | - | -165F1 | AUX |  | =NT23++AE00+MCPHF12-165F1 | MCPHF12_165F1_230VAC_UPS_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_BADGE_READER | 230VAC-UPS POWER SUPPLY CIRCUIT BREAKER - STATUS - BADGE READER | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 3 | I30.2
REV 0 | - | -450X1:4 |  |  | =NT23++AE00+MCPHF12-450X1:4 | MCPHF12_450X1_4_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 4 | I30.3
REV 0 | - | -100Q1 | GEN |  | =NT23++AE00+MCPHF12-100Q1 | MCPHF12_100Q1_MAIN_SWITCH_CLOSED | MAIN SWITCH CLOSED | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 5 | I30.4
REV 0 | - | -100Q1 | GEN |  | =NT23++AE00+MCPHF12-100Q1 | MCPHF12_100Q1_MAIN_SWITCH_TRIPPED | MAIN SWITCH TRIPPED | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 6 | I30.5
REV 0 | - | -105F1 | AUX |  | =NT23++AE00+MCPHF12-105F1 | MCPHF12_105F1_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_FAN | POWER SUPPLY CIRCUIT BREAKER - STATUS - FAN | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 7 | I30.6
REV 0 | - | -105B1 | AUX |  | =NT23++AE00+MCPHF12-105B1 | MCPHF12_105B1_HIGH_TEMPERATURE_ALARM | HIGH TEMPERATURE ALARM | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 8 | I30.7
REV 0 | - | -107F1 | AUX |  | =NT23++AE00+MCPHF12-107F1 | MCPHF12_107F1_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_NETWORK_ANALYZER | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - NETWORK ANALYZER | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 9 | I31.0
REV 0 | - | -107F2 | AUX |  | =NT23++AE00+MCPHF12-107F2 | MCPHF12_107F2_230VAC_UPS_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_NETWORK_ANALYZER | 230VAC-UPS POWER SUPPLY CIRCUIT BREAKER - STATUS - NETWORK ANALYZER | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 10 | I31.1
REV 0 | - | -130F1 | AUX |  | =NT23++AE00+MCPHF12-130F1 | MCPHF12_130F1_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_INVERTER_ST005_ST009 | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - INVERTER - +ST005 & +ST009 | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 11 | I31.2
REV 0 | - | -150F1 | AUX |  | =NT23++AE00+MCPHF12-150F1 | MCPHF12_150F1_230VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_FIRE_SHUTTER_HF12_FD001 | 230VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - FIRE SHUTTER ++HF12+FD001 | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 12 | I31.3
REV 0 | - | -159F1 | AUX |  | =NT23++AE00+MCPHF12-159F1 | MCPHF12_159F1_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_SECURITY_SHUTTER_HF12_SD003 | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - SECURITY SHUTTER ++HF12+SD003 | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 13 | I31.4
REV 0 | - | -159F2 | AUX |  | =NT23++AE00+MCPHF12-159F2 | MCPHF12_159F2_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_SECURITY_SHUTTER_HF12_SD007 | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - SECURITY SHUTTER ++HF12+SD007 | ++AE00+MCPHF12 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 14 | I31.5
REV 0 | - | -K0001 |  | HF12SD003 | =NT23++HF12+SD003.CD003-K0001 | HF12_SD003_CD003_K0001_UP_ANTI_INTRUSION_DAMPER | UP ANTI-INTRUSION DAMPER | ++HF12+SD003.CD003 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 15 | I31.6
REV 0 | - | -K0001 |  | HF12SD003 | =NT23++HF12+SD003.CD003-K0001 | HF12_SD003_CD003_K0001_DOWN_ANTI_INTRUSION_DAMPER | DOWN ANTI-INTRUSION DAMPER | ++HF12+SD003.CD003 |  |  | 1 |  |  |  |  | -340K1 | -340K4 | 16 | I31.7
REV 0 | - | -K0001 |  | HF12SD003 | =NT23++HF12+SD003.CD003-K0001 | HF12_SD003_CD003_K0001_TECHNICAL_ERROR_ANTI_INTRUSION_DAMPER | TECHNICAL ERROR ANTI-INTRUSION DAMPER | ++HF12+SD003.CD003 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 1 | I32.0
REV 0 | - | -K0001 |  | HF12SD003 | =NT23++HF12+SD003.CD003-K0001 | HF12_SD003_CD003_K0001_WARNING_ANTI_INTRUSION_DAMPER | WARNING ANTI-INTRUSION DAMPER | ++HF12+SD003.CD003 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 2 | I32.1
REV 0 | - | -K0001 |  | HF12SD003 | =NT23++HF12+SD003.CD003-K0001 | HF12_SD003_CD003_K0001_LOCKUNLOCK_MODE_ANTI_INTRUSION_DAMPER | LOCK/UNLOCK MODE ANTI-INTRUSION DAMPER | ++HF12+SD003.CD003 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 3 | I32.2
REV 0 | - | -K0001 |  | HF12SD007 | =NT23++HF12+SD007.CD007-K0001 | HF12_SD007_CD007_K0001_UP_ANTI_INTRUSION_DAMPER | UP ANTI-INTRUSION DAMPER | ++HF12+SD007.CD007 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 4 | I32.3
REV 0 | - | -K0001 |  | HF12SD007 | =NT23++HF12+SD007.CD007-K0001 | HF12_SD007_CD007_K0001_DOWN_ANTI_INTRUSION_DAMPER | DOWN ANTI-INTRUSION DAMPER | ++HF12+SD007.CD007 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 5 | I32.4
REV 0 | - | -K0001 |  | HF12SD007 | =NT23++HF12+SD007.CD007-K0001 | HF12_SD007_CD007_K0001_TECHNICAL_ERROR_ANTI_INTRUSION_DAMPER | TECHNICAL ERROR ANTI-INTRUSION DAMPER | ++HF12+SD007.CD007 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 6 | I32.5
REV 0 | - | -K0001 |  | HF12SD007 | =NT23++HF12+SD007.CD007-K0001 | HF12_SD007_CD007_K0001_WARNING_ANTI_INTRUSION_DAMPER | WARNING ANTI-INTRUSION DAMPER | ++HF12+SD007.CD007 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 7 | I32.6
REV 0 | - | -K0001 |  | HF12SD007 | =NT23++HF12+SD007.CD007-K0001 | HF12_SD007_CD007_K0001_LOCKUNLOCK_MODE_ANTI_INTRUSION_DAMPER | LOCK/UNLOCK MODE ANTI-INTRUSION DAMPER | ++HF12+SD007.CD007 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 8 | I32.7
REV 2 | - | -100S1 | BRU_HF12BR001 | HF12BR001 | =NT23++HF12+BR001-100S1 | HF12_BR001_100S1_EMERGENCY_RESET | EMERGENCY RESET | ++HF12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 9 | I33.0
REV 2 | - |  | BRU_HF12BR001 | HF12BR001 | =NT23++HF12+BR001 | HF12_BR001_SPARE | SPARE | ++HF12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 10 | I33.1
REV 2 | - | -100S2 | BRU_HF12BR001 | HF12BR001 | =NT23++HF12+BR001-100S2 | HF12_BR001_100S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++HF12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 11 | I33.2
REV 2 | - |  | BRU_HF12BR001 | HF12BR001 | =NT23++HF12+BR001 | HF12_BR001_SPARE | SPARE | ++HF12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 12 | I33.3
REV 0 | - | -X |  |  | =CUSTOMER+++-X | CUSTOMER_X_ENABLE_BPCT | ENABLE BPCT |  |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 13 | I33.4
REV 0 | - | -751S1 |  | +CD001 | =NT23++HF12+CD001-751S1 | HF12_CD001_751S1_LOCAL | LOCAL | ++HF12+CD001 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 14 | I33.5
REV 0 | - | -751S1 |  | +CD001 | =NT23++HF12+CD001-751S1 | HF12_CD001_751S1_SCADA | SCADA | ++HF12+CD001 |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 15 | I33.6
REV 0 | - | -X |  |  | =CUSTOMER++FIRE_ALARM+-X | CUSTOMER_FIRE_ALARM_X_FIRE_ALARM | FIRE ALARM | ++FIRE_ALARM |  |  | 1 |  |  |  |  | -340K1 | -340K5 | 16 | I33.7
REV 0 | - | -100S1 | BPCV_HF12OP601 | HF12OP601 | =NT23++HF12+OP601-100S1 | HF12_OP601_100S1_AUTOMATIC | AUTOMATIC | ++HF12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 1 | I34.0
REV 0 | - | -100S1 | BPCV_HF12OP601 | HF12OP601 | =NT23++HF12+OP601-100S1 | HF12_OP601_100S1_MAINTENANCE | MAINTENANCE | ++HF12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 2 | I34.1
REV 0 | - | -100S2 | BPCV_HF12OP601 | HF12OP601 | =NT23++HF12+OP601-100S2 | HF12_OP601_100S2_OPENING | OPENING | ++HF12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 3 | I34.2
REV 0 | - | -100S3 | BPCV_HF12OP601 | HF12OP601 | =NT23++HF12+OP601-100S3 | HF12_OP601_100S3_CLOSURE | CLOSURE | ++HF12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 4 | I34.3
REV 0 | - | -100S1 | BPCV_HF12OP602 | HF12OP602 | =NT23++HF12+OP602-100S1 | HF12_OP602_100S1_AUTOMATIC | AUTOMATIC | ++HF12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 5 | I34.4
REV 0 | - | -100S1 | BPCV_HF12OP602 | HF12OP602 | =NT23++HF12+OP602-100S1 | HF12_OP602_100S1_MAINTENANCE | MAINTENANCE | ++HF12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 6 | I34.5
REV 0 | - | -100S2 | BPCV_HF12OP602 | HF12OP602 | =NT23++HF12+OP602-100S2 | HF12_OP602_100S2_OPENING | OPENING | ++HF12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 7 | I34.6
REV 0 | - | -100S3 | BPCV_HF12OP602 | HF12OP602 | =NT23++HF12+OP602-100S3 | HF12_OP602_100S3_CLOSURE | CLOSURE | ++HF12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 8 | I34.7
REV 0 | - | -100S1 | BPA_HF12MP101 | HF12MP101 | =NT23++HF12+MP101-100S1 | HF12_MP101_100S1_OVERSIZE_ACKNOWLEDGMENT | OVERSIZE ACKNOWLEDGMENT | ++HF12+MP101 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 9 | I35.0
REV 0 | - | -450X1:6 |  |  | =NT23++AE00+MCPHF12-450X1:6 | MCPHF12_450X1_6_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 10 | I35.1
REV 0 | - | -450X1:8 |  |  | =NT23++AE00+MCPHF12-450X1:8 | MCPHF12_450X1_8_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 11 | I35.2
REV 0 | - | -450X1:10 |  |  | =NT23++AE00+MCPHF12-450X1:10 | MCPHF12_450X1_10_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 12 | I35.3
REV 0 | - | -450X1:12 |  |  | =NT23++AE00+MCPHF12-450X1:12 | MCPHF12_450X1_12_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 13 | I35.4
REV 0 | - | -450X1:14 |  |  | =NT23++AE00+MCPHF12-450X1:14 | MCPHF12_450X1_14_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 14 | I35.5
REV 0 | - | -450X1:16 |  |  | =NT23++AE00+MCPHF12-450X1:16 | MCPHF12_450X1_16_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 15 | I35.6
REV 0 | - | -450X1:18 |  |  | =NT23++AE00+MCPHF12-450X1:18 | MCPHF12_450X1_18_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 16 | I35.7
REV 0 | - | -350S1 |  |  | =NT23++AE00+MCPHF12-350S1 | MCPHF12_350S1_EMERGENCY_PUSHBUTTON_PRESSED | EMERGENCY PUSHBUTTON PRESSED | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 1 | Q30.0
REV 0 | - | -500P1 |  |  | =NT23++AE00+MCPHF12-500P1 | MCPHF12_500P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 2 | Q30.1
REV 0 | - | -210F1 |  |  | =NT23++AE00+MCPHF12-210F1 | MCPHF12_210F1_ELECTRONIC_FUSE_24VDC_DISTRIBUTION_RESET | ELECTRONIC FUSE 24VDC DISTRIBUTION RESET | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 3 | Q30.2
REV 0 | - | -500X1:2 |  |  | =NT23++AE00+MCPHF12-500X1:2 | MCPHF12_500X1_2_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 4 | Q30.3
REV 0 | - | -500X1:4 |  |  | =NT23++AE00+MCPHF12-500X1:4 | MCPHF12_500X1_4_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 5 | Q30.4
REV 0 | - | -500X1:6 |  |  | =NT23++AE00+MCPHF12-500X1:6 | MCPHF12_500X1_6_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 6 | Q30.5
REV 0 | - | -500X1:8 |  |  | =NT23++AE00+MCPHF12-500X1:8 | MCPHF12_500X1_8_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 7 | Q30.6
REV 0 | - | -500X1:10 |  |  | =NT23++AE00+MCPHF12-500X1:10 | MCPHF12_500X1_10_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 8 | Q30.7
REV 0 | - | -501P1 |  |  | =NT23++AE00+MCPHF12-501P1 | MCPHF12_501P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 9 | Q31.0
REV 0 | - | -501P1 |  |  | =NT23++AE00+MCPHF12-501P1 | MCPHF12_501P1_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 10 | Q31.1
REV 0 | - | -501P1 |  |  | =NT23++AE00+MCPHF12-501P1 | MCPHF12_501P1_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 11 | Q31.2
REV 0 | - | -501P1 |  |  | =NT23++AE00+MCPHF12-501P1 | MCPHF12_501P1_BUZZER_TOWER | BUZZER - TOWER | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 12 | Q31.3
REV 2 | - | -100S1 | AU_HF12EB001 | HF12EB001 | =NT23++HF12+EB001-100S1 | HF12_EB001_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++HF12+EB001 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 13 | Q31.4
REV 2 | - | -100S1 | AUS_HF12EB002 | HF12EB002 | =NT23++HF12+EB002-100S1 | HF12_EB002_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++HF12+EB002 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 14 | Q31.5
REV 2 | - | -100S1 | AUS_HF12EB003 | HF12EB003 | =NT23++HF12+EB003-100S1 | HF12_EB003_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++HF12+EB003 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 15 | Q31.6
REV 0 | - | -500X1:12 |  |  | =NT23++AE00+MCPHF12-500X1:12 | MCPHF12_500X1_12_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 16 | Q31.7
REV 0 | - | -100P1 | BRU_HF12BR001 | HF12BR001 | =NT23++HF12+BR001-100P1 | HF12_BR001_100P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++HF12+BR001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 1 | Q32.0
REV 0 | - | -100P2 | BRU_HF12BR001 | HF12BR001 | =NT23++HF12+BR001-100P2 | HF12_BR001_100P2_FAULT | FAULT | ++HF12+BR001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 2 | Q32.1
REV 0 | - | -100S2 | BPCV_HF12OP601 | HF12OP601 | =NT23++HF12+OP601-100S2 | HF12_OP601_100S2_OPENING | OPENING | ++HF12+OP601 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 3 | Q32.2
REV 0 | - | -100S3 | BPCV_HF12OP601 | HF12OP601 | =NT23++HF12+OP601-100S3 | HF12_OP601_100S3_CLOSURE | CLOSURE | ++HF12+OP601 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 4 | Q32.3
REV 0 | - | -100P1 | BPCV_HF12OP601 | HF12OP601 | =NT23++HF12+OP601-100P1 | HF12_OP601_100P1_FAULT | FAULT | ++HF12+OP601 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 5 | Q32.4
REV 0 | - | -100S2 | BPCV_HF12OP602 | HF12OP602 | =NT23++HF12+OP602-100S2 | HF12_OP602_100S2_OPENING | OPENING | ++HF12+OP602 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 6 | Q32.5
REV 0 | - | -100S3 | BPCV_HF12OP602 | HF12OP602 | =NT23++HF12+OP602-100S3 | HF12_OP602_100S3_CLOSURE | CLOSURE | ++HF12+OP602 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 7 | Q32.6
REV 0 | - | -100P1 | BPCV_HF12OP602 | HF12OP602 | =NT23++HF12+OP602-100P1 | HF12_OP602_100P1_FAULT | FAULT | ++HF12+OP602 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 8 | Q32.7
REV 0 | - | -100S1 | BPA_HF12MP101 | HF12MP101 | =NT23++HF12+MP101-100S1 | HF12_MP101_100S1_OVERSIZE_ACKNOWLEDGMENT | OVERSIZE ACKNOWLEDGMENT | ++HF12+MP101 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 9 | Q33.0
REV 0 | - | -500X1:14 |  |  | =NT23++AE00+MCPHF12-500X1:14 | MCPHF12_500X1_14_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 10 | Q33.1
REV 0 | - | -500X1:16 |  |  | =NT23++AE00+MCPHF12-500X1:16 | MCPHF12_500X1_16_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 11 | Q33.2
REV 0 | - | -100P1 | CLG_HF12LB201 | HF12LB201 | =NT23++HF12+LB201-100P1 | HF12_LB201_100P1_OVERSIZED_BAGGAGE_PRESENCE_TOWER | OVERSIZED BAGGAGE PRESENCE - TOWER | ++HF12+LB201 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 12 | Q33.3
REV 0 | - | -100P1 | CLL_HF12LB001 | HF12LB001 | =NT23++HF12+LB001-100P1 | HF12_LB001_100P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++HF12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 13 | Q33.4
REV 0 | - | -100P2 | CLL_HF12LB001 | HF12LB001 | =NT23++HF12+LB001-100P2 | HF12_LB001_100P2_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++HF12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 14 | Q33.5
REV 0 | - | -100P3 | CLL_HF12LB001 | HF12LB001 | =NT23++HF12+LB001-100P3 | HF12_LB001_100P3_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++HF12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 15 | Q33.6
REV 0 | - | -100P4 | CLL_HF12LB001 | HF12LB001 | =NT23++HF12+LB001-100P4 | HF12_LB001_100P4_BUZZER_TOWER | BUZZER - TOWER | ++HF12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 16 | Q33.7
REV 0 | - | -100P1 | CLL_HF12LB002 | HF12LB002 | =NT23++HF12+LB002-100P1 | HF12_LB002_100P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++HF12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 1 | Q34.0
REV 0 | - | -100P2 | CLL_HF12LB002 | HF12LB002 | =NT23++HF12+LB002-100P2 | HF12_LB002_100P2_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++HF12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 2 | Q34.1
REV 0 | - | -100P3 | CLL_HF12LB002 | HF12LB002 | =NT23++HF12+LB002-100P3 | HF12_LB002_100P3_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++HF12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 3 | Q34.2
REV 0 | - | -100P4 | CLL_HF12LB002 | HF12LB002 | =NT23++HF12+LB002-100P4 | HF12_LB002_100P4_BUZZER_TOWER | BUZZER - TOWER | ++HF12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 4 | Q34.3
REV 0 | - | -500X1:18 |  |  | =NT23++AE00+MCPHF12-500X1:18 | MCPHF12_500X1_18_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 5 | Q34.4
REV 0 | - | -500X1:20 |  |  | =NT23++AE00+MCPHF12-500X1:20 | MCPHF12_500X1_20_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 6 | Q34.5
REV 0 | - | -500X1:22 |  |  | =NT23++AE00+MCPHF12-500X1:22 | MCPHF12_500X1_22_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 7 | Q34.6
REV 0 | - | -500X1:24 |  |  | =NT23++AE00+MCPHF12-500X1:24 | MCPHF12_500X1_24_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 8 | Q34.7
REV 0 | - | -505K1 |  |  | =NT23++AE00+MCPHF12-505K1 | MCPHF12_505K1_UP_ANTI_INTRUSION_DAMPER_HF12_SD003 | UP ANTI-INTRUSION DAMPER ++HF12+SD003 | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 9 | Q35.0
REV 0 | - | -505K2 |  |  | =NT23++AE00+MCPHF12-505K2 | MCPHF12_505K2_DOWN_ANTI_INTRUSION_DAMPER_HF12_SD003 | DOWN ANTI-INTRUSION DAMPER ++HF12+SD003 | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 10 | Q35.1
REV 0 | - | -505K3 |  |  | =NT23++AE00+MCPHF12-505K3 | MCPHF12_505K3_ANOMALY_ANTI_INTRUSION_DAMPER_HF12_SD003 | ANOMALY ANTI-INTRUSION DAMPER ++HF12+SD003 | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 11 | Q35.2
REV 0 | - | -505K4 |  |  | =NT23++AE00+MCPHF12-505K4 | MCPHF12_505K4_UP_ANTI_INTRUSION_DAMPER_HF12_SD007 | UP ANTI-INTRUSION DAMPER ++HF12+SD007 | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 12 | Q35.3
REV 0 | - | -505K5 |  |  | =NT23++AE00+MCPHF12-505K5 | MCPHF12_505K5_DOWN_ANTI_INTRUSION_DAMPER_HF12_SD007 | DOWN ANTI-INTRUSION DAMPER ++HF12+SD007 | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 13 | Q35.4
REV 0 | - | -505K6 |  |  | =NT23++AE00+MCPHF12-505K6 | MCPHF12_505K6_ANOMALY_ANTI_INTRUSION_DAMPER_HF12_SD007 | ANOMALY ANTI-INTRUSION DAMPER ++HF12+SD007 | ++AE00+MCPHF12 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 14 | Q35.5
REV 0 | - | -500X1:26 |  |  | =NT23++AE00+MCPHF12-500X1:26 | MCPHF12_500X1_26_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 15 | Q35.6
REV 0 | - | -500X1:28 |  |  | =NT23++AE00+MCPHF12-500X1:28 | MCPHF12_500X1_28_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 16 | Q35.7
REV 0 | - | -T0001 |  | HF12ST005 | =NT23++HF12+ST005-T0001 | HF12_ST005_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++HF12+ST005 | [8 empty] | -T0001 | S1 | I1009.7 | 1000
REV 0 | - | -T0001 |  | HF12ST005 | =NT23++HF12+ST005-T0001 | HF12_ST005_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++HF12+ST005 | [8 empty] | -T0001 | S2 | I1008.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1101 | PH_HF12ST005 | HF12ST005 | =NT23++HF12+ST005-B1101 | HF12_ST005_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++HF12+ST005 | [8 empty] | -T0001 | X5133_1:4 | I1009.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - | -B7701 | PH_HF12OG105 | HF12OG105 | =NT23++HF12+OG105-B7701 | HF12_OG105_B7701_SIZE_CONTROL | SIZE CONTROL | ++HF12+OG105 | [8 empty] | -T0001 | X5133_2:4 | I1009.3
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 0 | - | -T0001 |  | HF12ST009 | =NT23++HF12+ST009-T0001 | HF12_ST009_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++HF12+ST009 | [8 empty] | -T0001 | S1 | I1029.7 | 1020
REV 0 | - | -T0001 |  | HF12ST009 | =NT23++HF12+ST009-T0001 | HF12_ST009_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++HF12+ST009 | [8 empty] | -T0001 | S2 | I1028.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1101 | PH_HF12ST009 | HF12ST009 | =NT23++HF12+ST009-B1101 | HF12_ST009_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++HF12+ST009 | [8 empty] | -T0001 | X5133_1:4 | I1029.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4