## Revision
Revision
Rev. | Num. | Date | Description | Autor
0 |  | 2025-02-05 | First emission | Righi
1 |  | 2025-03-18 | Update | Righi
2 |  | 2025-04-28 | Update | Righi
3 |  | 2025-08-08 | IO Addresses & plant revisions | Massoletti

## Remote List
ELECTRICAL INFO | [6 empty] | SW INFORMATION
REV | PHASE | REMOTE ID | ID LINE COMPONENT | CARD ID | CARD TYPE | SIEMENS CODE | SUBNET 1 | IP ADDR 1 | SUBNET 2 | IP ADDR 2 | PB ADDR 1 | PB ADDR 2 | PZD ADDR | I ADDR | O ADDR | MOVIGEAR DI | MOVIGEAR DO | MOVIMOT DI | MOVIMOT DO | MOVIFIT DI | MOVIFIT DO | NORD DI | NORD DO | SIEMENS DI | SIEMENS DO | LENZE DI | LENZE DO
=NT23++AE00+MCPCA12
|  | =NT23++AE00+MCPCA12-310K1 |  |  | SCALANCE XC208 | SIE.6GK5208-0BA00-2AC2
|  | =NT23++AE00+MCPCA12-330K1 |  |  | SIMATIC HMI MTP1200 Comfort | SIE.6AV2128-3MB06-0AX1
|  | =NT23++AE00+MCPCA12-335K1 |  |  | SIMATIC S7-1500F Comfort | SIE.6ES7516-3FP03-0AB0
|  | =NT23++AE00+MCPCA12-340K1 |  |  | IM 155-6 PN/2 HF | SIE.6ES7155-6AU01-0CN0
|  | =NT23++AE00+MCPCA12-340K2 |  |  | F-DI 8X24VDC HF | SIE.6ES7136-6BA01-0CA0
|  | =NT23++AE00+MCPCA12-340K3 |  |  | F-DI 8X24VDC HF | SIE.6ES7136-6BA01-0CA0
|  | =NT23++AE00+MCPCA12-340K4 |  |  | F-DI 8X24VDC HF | SIE.6ES7136-6BA01-0CA0
|  | =NT23++AE00+MCPCA12-340K5 |  |  | F-DI 8X24VDC HF | SIE.6ES7136-6BA01-0CA0
|  | =NT23++AE00+MCPCA12-340K6 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-340K7 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-340K8 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-340K9 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-340K10 |  |  | DI16xDC24V | SIE.6ES7131-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-341K1 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-341K2 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-341K3 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-341K4 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-341K5 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
|  | =NT23++AE00+MCPCA12-341K6 |  |  | DO16xDC24V | SIE.6ES7132-6BH01-0BA0
=NT23++CA12
|  | =NT23++CA12+ST001-T0001 | CA12ST001
|  | =NT23++CA12+ST003-T0001 | CA12ST003
|  | =NT23++CA12+ST005-T0001 | CA12ST005
|  | =NT23++CA12+ST007-T0001 | CA12ST007
|  | =NT23++CA12+ST015-T0001 | CA12ST015
|  | =NT23++CA12+ST017-T0001 | CA12ST017
|  | =NT23++CA12+ST019-T0001 | CA12ST019
|  | =NT23++CA12+CA028-T0001 | CA12CA028
|  | =NT23++CA12+CA039-T0001 | CA12CA039

## IO List
FIELD | [8 empty] | CARD TYPE | [6 empty] | REMOTE |  |  | PLC
ELETTRICAL INFO | [5 empty] | SW INFORMATION | ELETTRICAL INFO | [12 empty] | SW INFORMATION
REV | PHASE | Eletrical Equipment | Function | ID LINE COMPONENT | Electrical TAG | SW TAG | SIGNAL DESCRIPTION | EQUIPMENT LOCATION | DI SAFE | DO SAFE | DI | DO | AI | AO | HIGH SPEED COUNTER | HARD WIRED TO | CARD ID | PIN | I/O ADDR | SCADA ALARM | NOTE
REV 0 | - | -350S1 | AUX |  | =NT23++AE00+MCPCA12-350S1 | MCPCA12_350S1_EMERGENCY_STOP_PUSH_BUTTON_CH1 | EMERGENCY STOP PUSH BUTTON - CH1 | ++AE00+MCPCA12 | 1 | [6 empty] | -340K1 | -340K2 | 1 | I0.0
REV 0 | - | -100S1 |  | CA12EB001 | =NT23++CA12+EB001-100S1 | CA12_EB001_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB001 | 1 | [6 empty] | -340K1 | -340K2 | 2 | I0.1
REV 0 | - | -100S1 |  | CA12EB002 | =NT23++CA12+EB002-100S1 | CA12_EB002_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB002 | 1 | [6 empty] | -340K1 | -340K2 | 3 | I0.2
REV 0 | - | -100S1 |  | CA12EB003 | =NT23++CA12+EB003-100S1 | CA12_EB003_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB003 | 1 | [6 empty] | -340K1 | -340K2 | 4 | I0.3
REV 0 | - | -350S1 |  |  | =NT23++AE00+MCPCA12-350S1 | MCPCA12_350S1_EMERGENCY_STOP_PUSH_BUTTON_CH2 | EMERGENCY STOP PUSH BUTTON - CH2 | ++AE00+MCPCA12 | 1 | [6 empty] | -340K1 | -340K2 | 5 | I0.4
REV 0 | - | -100S1 |  | CA12EB001 | =NT23++CA12+EB001-100S1 | CA12_EB001_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB001 | 1 | [6 empty] | -340K1 | -340K2 | 6 | I0.5
REV 0 | - | -100S1 |  | CA12EB002 | =NT23++CA12+EB002-100S1 | CA12_EB002_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB002 | 1 | [6 empty] | -340K1 | -340K2 | 7 | I0.6
REV 0 | - | -100S1 |  | CA12EB003 | =NT23++CA12+EB003-100S1 | CA12_EB003_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB003 | 1 | [6 empty] | -340K1 | -340K2 | 8 | I0.7
REV 0 | - | -100S1 |  | CA12EB004 | =NT23++CA12+EB004-100S1 | CA12_EB004_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB004 | 1 | [6 empty] | -340K1 | -340K3 | 1 | I7.0
REV 0 | - | -100S1 |  | CA12EB005 | =NT23++CA12+EB005-100S1 | CA12_EB005_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB005 | 1 | [6 empty] | -340K1 | -340K3 | 2 | I7.1
REV 0 | - | -100S1 |  | CA12EB006 | =NT23++CA12+EB006-100S1 | CA12_EB006_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB006 | 1 | [6 empty] | -340K1 | -340K3 | 3 | I7.2
REV 0 | - | -100S1 |  | CA12EB007 | =NT23++CA12+EB007-100S1 | CA12_EB007_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB007 | 1 | [6 empty] | -340K1 | -340K3 | 4 | I7.3
REV 0 | - | -100S1 |  | CA12EB004 | =NT23++CA12+EB004-100S1 | CA12_EB004_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB004 | 1 | [6 empty] | -340K1 | -340K3 | 5 | I7.4
REV 0 | - | -100S1 |  | CA12EB005 | =NT23++CA12+EB005-100S1 | CA12_EB005_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB005 | 1 | [6 empty] | -340K1 | -340K3 | 6 | I7.5
REV 0 | - | -100S1 | AUS_CA12EB006 | CA12EB006 | =NT23++CA12+EB006-100S1 | CA12_EB006_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB006 | 1 | [6 empty] | -340K1 | -340K3 | 7 | I7.6
REV 0 | - | -100S1 | AUS_CA12EB007 | CA12EB007 | =NT23++CA12+EB007-100S1 | CA12_EB007_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB007 | 1 | [6 empty] | -340K1 | -340K3 | 8 | I7.7
REV 0 | - | -100S1 | AUS_CA12EB009 | CA12EB009 | =NT23++CA12+EB009-100S1 | CA12_EB009_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB009 | 1 | [6 empty] | -340K1 | -340K4 | 1 | I14.0
REV 0 | - | -100S1 | AUS_CA12EB010 | CA12EB010 | =NT23++CA12+EB010-100S1 | CA12_EB010_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB010 | 1 | [6 empty] | -340K1 | -340K4 | 2 | I14.1
REV 0 | - | -100S1 | AUS_CA12EB011 | CA12EB011 | =NT23++CA12+EB011-100S1 | CA12_EB011_100S1_EMERGENCY_STOP_CH1 | EMERGENCY STOP - CH1 | ++CA12+EB011 | 1 | [6 empty] | -340K1 | -340K4 | 3 | I14.2
REV 0 | - | -352X4:2 |  |  | =NT23++AE00+MCPCA12-352X4:2 | MCPCA12_352X4_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K4 | 4 | I14.3
REV 0 | - | -100S1 | AUS_CA12EB009 | CA12EB009 | =NT23++CA12+EB009-100S1 | CA12_EB009_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB009 | 1 | [6 empty] | -340K1 | -340K4 | 5 | I14.4
REV 0 | - | -100S1 | AUS_CA12EB010 | CA12EB010 | =NT23++CA12+EB010-100S1 | CA12_EB010_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB010 | 1 | [6 empty] | -340K1 | -340K4 | 6 | I14.5
REV 0 | - | -100S1 | AUS_CA12EB011 | CA12EB011 | =NT23++CA12+EB011-100S1 | CA12_EB011_100S1_EMERGENCY_STOP_CH2 | EMERGENCY STOP - CH2 | ++CA12+EB011 | 1 | [6 empty] | -340K1 | -340K4 | 7 | I14.6
REV 0 | - | -352X4:4 |  |  | =NT23++AE00+MCPCA12-352X4:4 | MCPCA12_352X4_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K4 | 8 | I14.7
REV 0 | - | -353X1:2 |  |  | =NT23++AE00+MCPCA12-353X1:2 | MCPCA12_353X1_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 1 | I21.0
REV 0 | - | -353X2:2 |  |  | =NT23++AE00+MCPCA12-353X2:2 | MCPCA12_353X2_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 2 | I21.1
REV 0 | - | -353X3:2 |  |  | =NT23++AE00+MCPCA12-353X3:2 | MCPCA12_353X3_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 3 | I21.2
REV 0 | - | -353X4:2 |  |  | =NT23++AE00+MCPCA12-353X4:2 | MCPCA12_353X4_2_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 4 | I21.3
REV 0 | - | -353X1:4 |  |  | =NT23++AE00+MCPCA12-353X1:4 | MCPCA12_353X1_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 5 | I21.4
REV 0 | - | -353X2:4 |  |  | =NT23++AE00+MCPCA12-353X2:4 | MCPCA12_353X2_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 6 | I21.5
REV 0 | - | -353X3:4 |  |  | =NT23++AE00+MCPCA12-353X3:4 | MCPCA12_353X3_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 7 | I21.6
REV 0 | - | -353X4:4 |  |  | =NT23++AE00+MCPCA12-353X4:4 | MCPCA12_353X4_4_SPARE | SPARE |  | 1 | [6 empty] | -340K1 | -340K5 | 8 | I21.7
REV 0 | - | -450S1 | AUX |  | =NT23++AE00+MCPCA12-450S1 | MCPCA12_450S1_EMERGENCY_RESET | EMERGENCY RESET | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 1 | I30.0
REV 0 | - | -450S2 | AUX |  | =NT23++AE00+MCPCA12-450S2 | MCPCA12_450S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 2 | I30.1
REV 0 | - | -450X1:2 |  |  | =NT23++AE00+MCPCA12-450X1:2 | MCPCA12_450X1_2_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 3 | I30.2
REV 0 | - | -450X1:4 |  |  | =NT23++AE00+MCPCA12-450X1:4 | MCPCA12_450X1_4_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 4 | I30.3
REV 0 | - | -100Q1 | GEN |  | =NT23++AE00+MCPCA12-100Q1 | MCPCA12_100Q1_MAIN_SWITCH_CLOSED | MAIN SWITCH CLOSED | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 5 | I30.4
REV 0 | - | -100Q1 | GEN |  | =NT23++AE00+MCPCA12-100Q1 | MCPCA12_100Q1_MAIN_SWITCH_TRIPPED | MAIN SWITCH TRIPPED | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 6 | I30.5
REV 0 | - | -105F1 | AUX |  | =NT23++AE00+MCPCA12-105F1 | MCPCA12_105F1_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_FAN | POWER SUPPLY CIRCUIT BREAKER - STATUS - FAN | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 7 | I30.6
REV 0 | - | -105B1 | AUX |  | =NT23++AE00+MCPCA12-105B1 | MCPCA12_105B1_HIGH_TEMPERATURE_ALARM | HIGH TEMPERATURE ALARM | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 8 | I30.7
REV 0 | - | -107F1 | AUX |  | =NT23++AE00+MCPCA12-107F1 | MCPCA12_107F1_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_NETWORK_ANALYZER | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - NETWORK ANALYZER | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 9 | I31.0
REV 0 | - | -107F2 | AUX |  | =NT23++AE00+MCPCA12-107F2 | MCPCA12_107F2_230VAC_UPS_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_NETWORK_ANALYZER | 230VAC-UPS POWER SUPPLY CIRCUIT BREAKER - STATUS - NETWORK ANALYZER | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 10 | I31.1
REV 1 | - | -165F1 | AUX |  | =NT23++AE00+MCPCA12-165F1 | MCPCA12_165F1_230VAC_UPS_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_BADGE_READER | 230VAC-UPS POWER SUPPLY CIRCUIT BREAKER - STATUS - BADGE READER | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 11 | I31.2
REV 0 | - | -130F1 | AUX |  | =NT23++AE00+MCPCA12-130F1 | MCPCA12_130F1_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_INVERTER_ST001_ST007 | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - INVERTER - +ST001...+ST007 | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 12 | I31.3
REV 0 | - | -130F2 | AUX |  | =NT23++AE00+MCPCA12-130F2 | MCPCA12_130F2_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_INVERTER_ST015_ST019 | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - INVERTER - +ST015...+ST019 | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 13 | I31.4
REV 2 | - | -130F3 | AUX |  | =NT23++AE00+MCPCA12-130F3 | MCPCA12_130F3_400VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_INVERTER_CA028_CA039 | 400VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - INVERTER - +CA028 & +CA039 | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 14 | I31.5
REV 0 | - | -150F1 | AUX |  | =NT23++AE00+MCPCA12-150F1 | MCPCA12_150F1_230VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_ATR_CAMERA_CA12_SC009 | 230VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - ATR CAMERA ++CA12+SC009 | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 15 | I31.6
REV 0 | - | -150F2 | AUX |  | =NT23++AE00+MCPCA12-150F2 | MCPCA12_150F2_230VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_SECURITY_SHUTTER_CA12_SD011 | 230VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - SECURITY SHUTTER ++CA12+SD011 | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K6 | 16 | I31.7
REV 0 | - | -153F1 | AUX |  | =NT23++AE00+MCPCA12-153F1 | MCPCA12_153F1_230VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_FIRE_SHUTTER_CA12_FD013 | 230VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - FIRE SHUTTER ++CA12+FD013 | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 1 | I32.0
REV 0 | - | -153F2 | AUX |  | =NT23++AE00+MCPCA12-153F2 | MCPCA12_153F2_230VAC_POWER_SUPPLY_CIRCUIT_BREAKER_STATUS_SECURITY_SHUTTER_CA12_SD021 | 230VAC POWER SUPPLY CIRCUIT BREAKER - STATUS - SECURITY SHUTTER ++CA12+SD021 | ++AE00+MCPCA12 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 2 | I32.1
REV 2 | - | -B7001 |  | CA12SD011 | =NT23++CA12+SD011-B7001 | CA12_SD011_B7001_POSITION_UP | POSITION UP | ++CA12+SD011 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 3 | I32.2
REV 2 | - | -B7101 |  | CA12SD011 | =NT23++CA12+SD011-B7101 | CA12_SD011_B7101_POSITION_DOWN | POSITION DOWN | ++CA12+SD011 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 4 | I32.3
REV 2 | - | -JB002 |  | CA12SD011 | =NT23++CA12+SD011.CD011-JB002 | CA12_SD011_CD011_JB002_SPARE_ANTI_INTRUSION_DAMPER | SPARE ANTI-INTRUSION DAMPER | ++CA12+SD011.CD011 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 5 | I32.4
REV 2 | - | -B7001 |  | CA12SD011 | =NT23++CA12+SD021-B7001 | CA12_SD021_B7001_POSITION_UP | POSITION UP | ++CA12+SD021 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 6 | I32.5
REV 2 | - | -B7101 |  | CA12SD011 | =NT23++CA12+SD021-B7101 | CA12_SD021_B7101_POSITION_DOWN | POSITION DOWN | ++CA12+SD021 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 7 | I32.6
REV 2 | - | -JB002 |  | CA12SD011 | =NT23++CA12+SD021.CD021-JB002 | CA12_SD021_CD021_JB002_SPARE_ANTI_INTRUSION_DAMPER | SPARE ANTI-INTRUSION DAMPER | ++CA12+SD021.CD021 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 8 | I32.7
REV 2 | - | -100S1 | BRU_CA12BR001 | CA12BR001 | =NT23++CA12+BR001-100S1 | CA12_BR001_100S1_EMERGENCY_RESET | EMERGENCY RESET | ++CA12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 9 | I33.0
REV 2 | - |  | BRU_CA12BR001 | CA12BR001 | =NT23++CA12+BR001 | CA12_BR001_SPARE | SPARE | ++CA12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 10 | I33.1
REV 2 | - | -100S2 | BRU_CA12BR001 | CA12BR001 | =NT23++CA12+BR001-100S2 | CA12_BR001_100S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++CA12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 11 | I33.2
REV 2 | - |  | BRU_CA12BR001 | CA12BR001 | =NT23++CA12+BR001 | CA12_BR001_SPARE | SPARE | ++CA12+BR001 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 12 | I33.3
REV 2 | - | -100S1 | BRU_CA12BR002 | CA12BR002 | =NT23++CA12+BR002-100S1 | CA12_BR002_100S1_EMERGENCY_RESET | EMERGENCY RESET | ++CA12+BR002 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 13 | I33.4
REV 2 | - |  | BRU_CA12BR002 | CA12BR002 | =NT23++CA12+BR002 | CA12_BR002_SPARE | SPARE | ++CA12+BR002 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 14 | I33.5
REV 2 | - | -100S2 | BRU_CA12BR002 | CA12BR002 | =NT23++CA12+BR002-100S2 | CA12_BR002_100S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++CA12+BR002 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 15 | I33.6
REV 2 | - |  | BRU_CA12BR002 | CA12BR002 | =NT23++CA12+BR002 | CA12_BR002_SPARE | SPARE | ++CA12+BR002 |  |  | 1 |  |  |  |  | -340K1 | -340K7 | 16 | I33.7
REV 2 | - | -100S1 | BRU_CA12BR003 | CA12BR003 | =NT23++CA12+BR003-100S1 | CA12_BR003_100S1_EMERGENCY_RESET | EMERGENCY RESET | ++CA12+BR003 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 1 | I34.0
REV 2 | - |  | BRU_CA12BR003 | CA12BR003 | =NT23++CA12+BR003 | CA12_BR003_SPARE | SPARE | ++CA12+BR003 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 2 | I34.1
REV 2 | - | -100S2 | BRU_CA12BR003 | CA12BR003 | =NT23++CA12+BR003-100S2 | CA12_BR003_100S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++CA12+BR003 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 3 | I34.2
REV 2 | - |  | BRU_CA12BR003 | CA12BR003 | =NT23++CA12+BR003 | CA12_BR003_SPARE | SPARE | ++CA12+BR003 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 4 | I34.3
REV 2 | - | -100S1 | BRU_CA12BR004 | CA12BR004 | =NT23++CA12+BR004-100S1 | CA12_BR004_100S1_EMERGENCY_RESET | EMERGENCY RESET | ++CA12+BR004 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 5 | I34.4
REV 2 | - |  | BRU_CA12BR004 | CA12BR004 | =NT23++CA12+BR004 | CA12_BR004_SPARE | SPARE | ++CA12+BR004 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 6 | I34.5
REV 2 | - | -100S2 | BRU_CA12BR004 | CA12BR004 | =NT23++CA12+BR004-100S2 | CA12_BR004_100S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++CA12+BR004 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 7 | I34.6
REV 2 | - |  | BRU_CA12BR004 | CA12BR004 | =NT23++CA12+BR004 | CA12_BR004_SPARE | SPARE | ++CA12+BR004 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 8 | I34.7
REV 2 | - | -100S1 | BRU_CA12BR005 | CA12BR005 | =NT23++CA12+BR005-100S1 | CA12_BR005_100S1_EMERGENCY_RESET | EMERGENCY RESET | ++CA12+BR005 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 9 | I35.0
REV 2 | - |  | BRU_CA12BR005 | CA12BR005 | =NT23++CA12+BR005 | CA12_BR005_SPARE | SPARE | ++CA12+BR005 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 10 | I35.1
REV 2 | - | -100S2 | BRU_CA12BR005 | CA12BR005 | =NT23++CA12+BR005-100S2 | CA12_BR005_100S2_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++CA12+BR005 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 11 | I35.2
REV 2 | - |  | BRU_CA12BR005 | CA12BR005 | =NT23++CA12+BR005 | CA12_BR005_SPARE | SPARE | ++CA12+BR005 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 12 | I35.3
REV 0 | - | -100S1 | BPA_CA12MP101 | CA12MP101 | =NT23++CA12+MP101-100S1 | CA12_MP101_100S1_OVERSIZE_ACKNOWLEDGMENT | OVERSIZE ACKNOWLEDGMENT | ++CA12+MP101 |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 13 | I35.4
REV 0 | - | -X |  |  | =CUSTOMER++FIRE_ALARM+-X | CUSTOMER_FIRE_ALARM_X_FIRE_ALARM | FIRE ALARM | ++FIRE_ALARM |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 14 | I35.5
REV 0 | - | -450X1:8 |  |  | =NT23++AE00+MCPCA12-450X1:8 | MCPCA12_450X1_8_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 15 | I35.6
REV 0 | - | -450X1:10 |  |  | =NT23++AE00+MCPCA12-450X1:10 | MCPCA12_450X1_10_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K8 | 16 | I35.7
REV 0 | - | -100S1 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S1 | CA12_OP501_100S1_AUTOMATIC | AUTOMATIC | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 1 | I36.0
REV 0 | - | -100S1 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S1 | CA12_OP501_100S1_MAINTENANCE | MAINTENANCE | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 2 | I36.1
REV 0 | - | -100S2 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S2 | CA12_OP501_100S2_SPEED_1 | SPEED 1 | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 3 | I36.2
REV 0 | - | -100S2 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S2 | CA12_OP501_100S2_SPEED_2 | SPEED 2 | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 4 | I36.3
REV 0 | - | -100S3 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S3 | CA12_OP501_100S3_INDUCTION | INDUCTION | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 5 | I36.4
REV 0 | - | -100S4 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S4 | CA12_OP501_100S4_STARTSTOP | START/STOP | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 6 | I36.5
REV 0 | - | -100S5 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S5 | CA12_OP501_100S5_FAULT_ACKNOWLEDGMENT | FAULT ACKNOWLEDGMENT | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 7 | I36.6
REV 0 | - | -100S6 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S6 | CA12_OP501_100S6_CYCLE_RESUME | CYCLE RESUME | ++CA12+OP501 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 8 | I36.7
REV 0 | - | -100S1 | BPCV_CA12OP601 | CA12OP601 | =NT23++CA12+OP601-100S1 | CA12_OP601_100S1_AUTOMATIC | AUTOMATIC | ++CA12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 9 | I37.0
REV 0 | - | -100S1 | BPCV_CA12OP601 | CA12OP601 | =NT23++CA12+OP601-100S1 | CA12_OP601_100S1_MAINTENANCE | MAINTENANCE | ++CA12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 10 | I37.1
REV 0 | - | -100S2 | BPCV_CA12OP601 | CA12OP601 | =NT23++CA12+OP601-100S2 | CA12_OP601_100S2_OPENING | OPENING | ++CA12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 11 | I37.2
REV 0 | - | -100S3 | BPCV_CA12OP601 | CA12OP601 | =NT23++CA12+OP601-100S3 | CA12_OP601_100S3_CLOSURE | CLOSURE | ++CA12+OP601 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 12 | I37.3
REV 0 | - | -100S1 | BPCV_CA12OP602 | CA12OP602 | =NT23++CA12+OP602-100S1 | CA12_OP602_100S1_AUTOMATIC | AUTOMATIC | ++CA12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 13 | I37.4
REV 0 | - | -100S1 | BPCV_CA12OP602 | CA12OP602 | =NT23++CA12+OP602-100S1 | CA12_OP602_100S1_MAINTENANCE | MAINTENANCE | ++CA12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 14 | I37.5
REV 0 | - | -100S2 | BPCV_CA12OP602 | CA12OP602 | =NT23++CA12+OP602-100S2 | CA12_OP602_100S2_OPENING | OPENING | ++CA12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 15 | I37.6
REV 0 | - | -100S3 | BPCV_CA12OP602 | CA12OP602 | =NT23++CA12+OP602-100S3 | CA12_OP602_100S3_CLOSURE | CLOSURE | ++CA12+OP602 |  |  | 1 |  |  |  |  | -340K1 | -340K9 | 16 | I37.7
REV 0 | - | -X |  |  | =CUSTOMER+++-X | CUSTOMER_X_ENABLE_BPCT | ENABLE BPCT |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 1 | I38.0
REV 0 | - | -751S1 |  |  | =NT23++CA12+CD002-751S1 | CA12_CD002_751S1_LOCAL | LOCAL | ++CA12+CD002 |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 2 | I38.1
REV 0 | - | -751S1 |  |  | =NT23++CA12+CD002-751S1 | CA12_CD002_751S1_SCADA | SCADA | ++CA12+CD002 |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 3 | I38.2
REV 0 | - | -450X1:12 |  |  | =NT23++AE00+MCPCA12-450X1:12 | MCPCA12_450X1_12_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 4 | I38.3
REV 0 | - | -450X1:14 |  |  | =NT23++AE00+MCPCA12-450X1:14 | MCPCA12_450X1_14_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 5 | I38.4
REV 0 | - | -450X1:16 |  |  | =NT23++AE00+MCPCA12-450X1:16 | MCPCA12_450X1_16_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 6 | I38.5
REV 0 | - | -450X1:18 |  |  | =NT23++AE00+MCPCA12-450X1:18 | MCPCA12_450X1_18_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 7 | I38.6
REV 0 | - | -450X1:20 |  |  | =NT23++AE00+MCPCA12-450X1:20 | MCPCA12_450X1_20_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 8 | I38.7
REV 0 | - | -450X1:22 |  |  | =NT23++AE00+MCPCA12-450X1:22 | MCPCA12_450X1_22_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 9 | I39.0
REV 0 | - | -450X1:24 |  |  | =NT23++AE00+MCPCA12-450X1:24 | MCPCA12_450X1_24_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 10 | I39.1
REV 0 | - | -450X1:26 |  |  | =NT23++AE00+MCPCA12-450X1:26 | MCPCA12_450X1_26_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 11 | I39.2
REV 0 | - | -450X1:28 |  |  | =NT23++AE00+MCPCA12-450X1:28 | MCPCA12_450X1_28_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 12 | I39.3
REV 0 | - | -450X1:30 |  |  | =NT23++AE00+MCPCA12-450X1:30 | MCPCA12_450X1_30_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 13 | I39.4
REV 0 | - | -450X1:32 |  |  | =NT23++AE00+MCPCA12-450X1:32 | MCPCA12_450X1_32_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 14 | I39.5
REV 0 | - | -450X1:34 |  |  | =NT23++AE00+MCPCA12-450X1:34 | MCPCA12_450X1_34_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 15 | I39.6
REV 0 | - | -450X1:36 |  |  | =NT23++AE00+MCPCA12-450X1:36 | MCPCA12_450X1_36_SPARE | SPARE |  |  |  | 1 |  |  |  |  | -340K1 | -340K10 | 16 | I39.7
REV 0 | - | -350S1 | AUX |  | =NT23++AE00+MCPCA12-350S1 | MCPCA12_350S1_EMERGENCY_PUSHBUTTON_PRESSED | EMERGENCY PUSHBUTTON PRESSED | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 1 | Q30.0
REV 0 | - | -500P1 | AUX |  | =NT23++AE00+MCPCA12-500P1 | MCPCA12_500P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 2 | Q30.1
REV 0 | - | -210F1 | AUX |  | =NT23++AE00+MCPCA12-210F1 | MCPCA12_210F1_ELECTRONIC_FUSE_24VDC_DISTRIBUTION_RESET | ELECTRONIC FUSE 24VDC DISTRIBUTION RESET | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 3 | Q30.2
REV 0 | - | -500X1:2 |  |  | =NT23++AE00+MCPCA12-500X1:2 | MCPCA12_500X1_2_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 4 | Q30.3
REV 0 | - | -500X1:4 |  |  | =NT23++AE00+MCPCA12-500X1:4 | MCPCA12_500X1_4_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 5 | Q30.4
REV 0 | - | -500X1:6 |  |  | =NT23++AE00+MCPCA12-500X1:6 | MCPCA12_500X1_6_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 6 | Q30.5
REV 0 | - | -500X1:8 |  |  | =NT23++AE00+MCPCA12-500X1:8 | MCPCA12_500X1_8_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 7 | Q30.6
REV 0 | - | -500X1:10 |  |  | =NT23++AE00+MCPCA12-500X1:10 | MCPCA12_500X1_10_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 8 | Q30.7
REV 0 | - | -501P1 | AUX |  | =NT23++AE00+MCPCA12-501P1 | MCPCA12_501P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 9 | Q31.0
REV 0 | - | -501P1 | AUX |  | =NT23++AE00+MCPCA12-501P1 | MCPCA12_501P1_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 10 | Q31.1
REV 0 | - | -501P1 | AUX |  | =NT23++AE00+MCPCA12-501P1 | MCPCA12_501P1_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 11 | Q31.2
REV 0 | - | -501P1 | AUX |  | =NT23++AE00+MCPCA12-501P1 | MCPCA12_501P1_BUZZER_TOWER | BUZZER - TOWER | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 12 | Q31.3
REV 2 | - | -100S1 | AU_CA12EB001 | CA12EB001 | =NT23++CA12+EB001-100S1 | CA12_EB001_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB001 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 13 | Q31.4
REV 2 | - | -100S1 | AU_CA12EB002 | CA12EB002 | =NT23++CA12+EB002-100S1 | CA12_EB002_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB002 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 14 | Q31.5
REV 2 | - | -100S1 | AU_CA12EB003 | CA12EB003 | =NT23++CA12+EB003-100S1 | CA12_EB003_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB003 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 15 | Q31.6
REV 2 | - | -100S1 | AU_CA12EB004 | CA12EB004 | =NT23++CA12+EB004-100S1 | CA12_EB004_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB004 |  |  |  | 1 |  |  |  | -340K1 | -341K1 | 16 | Q31.7
REV 2 | - | -100S1 | AU_CA12EB005 | CA12EB005 | =NT23++CA12+EB005-100S1 | CA12_EB005_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB005 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 1 | Q32.0
REV 2 | - | -100S1 | AUS_CA12EB006 | CA12EB006 | =NT23++CA12+EB006-100S1 | CA12_EB006_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB006 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 2 | Q32.1
REV 2 | - | -100S1 | AUS_CA12EB007 | CA12EB007 | =NT23++CA12+EB007-100S1 | CA12_EB007_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB007 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 3 | Q32.2
REV 2 | - | -100S1 | AUS_CA12EB009 | CA12EB009 | =NT23++CA12+EB009-100S1 | CA12_EB009_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB009 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 4 | Q32.3
REV 2 | - | -100S1 | AUS_CA12EB010 | CA12EB010 | =NT23++CA12+EB010-100S1 | CA12_EB010_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB010 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 5 | Q32.4
REV 2 | - | -100S1 | AUS_CA12EB011 | CA12EB011 | =NT23++CA12+EB011-100S1 | CA12_EB011_100S1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+EB011 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 6 | Q32.5
REV 0 | - | -352X4:6 |  |  | =NT23++AE00+MCPCA12-352X4:6 | MCPCA12_352X4_6_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 7 | Q32.6
REV 0 | - | -500X1:12 |  |  | =NT23++AE00+MCPCA12-500X1:12 | MCPCA12_500X1_12_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 8 | Q32.7
REV 0 | - | -101P1 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-101P1 | CA12_OP501_101P1_INDUCTION_STATE | INDUCTION STATE | ++CA12+OP501 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 9 | Q33.0
REV 0 | - | -101P2 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-101P2 | CA12_OP501_101P2_CAROUSEL_STATE | CAROUSEL STATE | ++CA12+OP501 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 10 | Q33.1
REV 0 | - | -100S6 | BPCR_CA12OP501 | CA12OP501 | =NT23++CA12+OP501-100S6 | CA12_OP501_100S6_CYCLE_RESUME | CYCLE RESUME | ++CA12+OP501 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 11 | Q33.2
REV 0 | - | -100P1 | BRU_CA12BR001 | CA12BR001 | =NT23++CA12+BR001-100P1 | CA12_BR001_100P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+BR001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 12 | Q33.3
REV 0 | - | -100P2 | BRU_CA12BR001 | CA12BR001 | =NT23++CA12+BR001-100P2 | CA12_BR001_100P2_FAULT | FAULT | ++CA12+BR001 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 13 | Q33.4
REV 0 | - | -100P1 | BRU_CA12BR002 | CA12BR002 | =NT23++CA12+BR002-100P1 | CA12_BR002_100P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+BR002 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 14 | Q33.5
REV 0 | - | -100P2 | BRU_CA12BR002 | CA12BR002 | =NT23++CA12+BR002-100P2 | CA12_BR002_100P2_FAULT | FAULT | ++CA12+BR002 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 15 | Q33.6
REV 0 | - | -503K1 | AUX |  | =NT23++AE00+MCPCA12-503K1 | MCPCA12_503K1_TRIGGER_SIGNAL_CA12_SC009 | TRIGGER SIGNAL ++CA12+SC009 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K2 | 16 | Q33.7
REV 0 | - | -100P1 | BRU_CA12BR003 | CA12BR003 | =NT23++CA12+BR003-100P1 | CA12_BR003_100P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+BR003 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 1 | Q34.0
REV 0 | - | -100P2 | BRU_CA12BR003 | CA12BR003 | =NT23++CA12+BR003-100P2 | CA12_BR003_100P2_FAULT | FAULT | ++CA12+BR003 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 2 | Q34.1
REV 0 | - | -100P1 | BRU_CA12BR004 | CA12BR004 | =NT23++CA12+BR004-100P1 | CA12_BR004_100P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+BR004 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 3 | Q34.2
REV 0 | - | -100P2 | BRU_CA12BR004 | CA12BR004 | =NT23++CA12+BR004-100P2 | CA12_BR004_100P2_FAULT | FAULT | ++CA12+BR004 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 4 | Q34.3
REV 0 | - | -100P1 | BRU_CA12BR005 | CA12BR005 | =NT23++CA12+BR005-100P1 | CA12_BR005_100P1_ACTIVE_EMERGENCY_STOP | ACTIVE EMERGENCY STOP | ++CA12+BR005 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 5 | Q34.4
REV 0 | - | -100P2 | BRU_CA12BR005 | CA12BR005 | =NT23++CA12+BR005-100P2 | CA12_BR005_100P2_FAULT | FAULT | ++CA12+BR005 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 6 | Q34.5
REV 0 | - | -100P1 | CLG_CA12LB201 | CA12LB201 | =NT23++CA12+LB201-100P1 | CA12_LB201_100P1_OVERSIZED_BAGGAGE_PRESENCE_TOWER | OVERSIZED BAGGAGE PRESENCE - TOWER | ++CA12+LB201 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 7 | Q34.6
REV 0 | - | -100S1 | BPA_CA12MP101 | CA12MP101 | =NT23++CA12+MP101-100S1 | CA12_MP101_100S1_OVERSIZE_ACKNOWLEDGMENT | OVERSIZE ACKNOWLEDGMENT | ++CA12+MP101 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 8 | Q34.7
REV 0 | - | -100P1 | CLL_CA12LB001 | CA12LB001 | =NT23++CA12+LB001-100P1 | CA12_LB001_100P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++CA12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 9 | Q35.0
REV 0 | - | -100P2 | CLL_CA12LB001 | CA12LB001 | =NT23++CA12+LB001-100P2 | CA12_LB001_100P2_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++CA12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 10 | Q35.1
REV 0 | - | -100P3 | CLL_CA12LB001 | CA12LB001 | =NT23++CA12+LB001-100P3 | CA12_LB001_100P3_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++CA12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 11 | Q35.2
REV 0 | - | -100P4 | CLL_CA12LB001 | CA12LB001 | =NT23++CA12+LB001-100P4 | CA12_LB001_100P4_BUZZER_TOWER | BUZZER - TOWER | ++CA12+LB001 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 12 | Q35.3
REV 0 | - | -100P1 | CLL_CA12LB002 | CA12LB002 | =NT23++CA12+LB002-100P1 | CA12_LB002_100P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++CA12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 13 | Q35.4
REV 0 | - | -100P2 | CLL_CA12LB002 | CA12LB002 | =NT23++CA12+LB002-100P2 | CA12_LB002_100P2_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++CA12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 14 | Q35.5
REV 0 | - | -100P3 | CLL_CA12LB002 | CA12LB002 | =NT23++CA12+LB002-100P3 | CA12_LB002_100P3_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++CA12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 15 | Q35.6
REV 0 | - | -100P4 | CLL_CA12LB002 | CA12LB002 | =NT23++CA12+LB002-100P4 | CA12_LB002_100P4_BUZZER_TOWER | BUZZER - TOWER | ++CA12+LB002 |  |  |  | 1 |  |  |  | -340K1 | -341K3 | 16 | Q35.7
REV 0 | - | -100P1 | CLL_CA12LB003 | CA12LB003 | =NT23++CA12+LB003-100P1 | CA12_LB003_100P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++CA12+LB003 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 1 | Q36.0
REV 0 | - | -100P2 | CLL_CA12LB003 | CA12LB003 | =NT23++CA12+LB003-100P2 | CA12_LB003_100P2_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++CA12+LB003 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 2 | Q36.1
REV 0 | - | -100P3 | CLL_CA12LB003 | CA12LB003 | =NT23++CA12+LB003-100P3 | CA12_LB003_100P3_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++CA12+LB003 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 3 | Q36.2
REV 0 | - | -100P4 | CLL_CA12LB003 | CA12LB003 | =NT23++CA12+LB003-100P4 | CA12_LB003_100P4_BUZZER_TOWER | BUZZER - TOWER | ++CA12+LB003 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 4 | Q36.3
REV 0 | - | -100P1 | CLL_CA12LB004 | CA12LB004 | =NT23++CA12+LB004-100P1 | CA12_LB004_100P1_RUNNING_LIGHT_TOWER | RUNNING LIGHT - TOWER | ++CA12+LB004 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 5 | Q36.4
REV 0 | - | -100P2 | CLL_CA12LB004 | CA12LB004 | =NT23++CA12+LB004-100P2 | CA12_LB004_100P2_FAULT_LIGHT_TOWER | FAULT LIGHT - TOWER | ++CA12+LB004 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 6 | Q36.5
REV 0 | - | -100P3 | CLL_CA12LB004 | CA12LB004 | =NT23++CA12+LB004-100P3 | CA12_LB004_100P3_EMERGENCY_LIGHT_TOWER | EMERGENCY LIGHT - TOWER | ++CA12+LB004 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 7 | Q36.6
REV 0 | - | -100P4 | CLL_CA12LB004 | CA12LB004 | =NT23++CA12+LB004-100P4 | CA12_LB004_100P4_BUZZER_TOWER | BUZZER - TOWER | ++CA12+LB004 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 8 | Q36.7
REV 0 | - | -100S2 | BPCV_CA12OP601 | CA12OP601 | =NT23++CA12+OP601-100S2 | CA12_OP601_100S2_OPENING | OPENING | ++CA12+OP601 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 9 | Q37.0
REV 0 | - | -100S3 | BPCV_CA12OP601 | CA12OP601 | =NT23++CA12+OP601-100S3 | CA12_OP601_100S3_CLOSURE | CLOSURE | ++CA12+OP601 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 10 | Q37.1
REV 0 | - | -100P1 | BPCV_CA12OP601 | CA12OP601 | =NT23++CA12+OP601-100P1 | CA12_OP601_100P1_FAULT | FAULT | ++CA12+OP601 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 11 | Q37.2
REV 0 | - | -100S2 | BPCV_CA12OP602 | CA12OP602 | =NT23++CA12+OP602-100S2 | CA12_OP602_100S2_OPENING | OPENING | ++CA12+OP602 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 12 | Q37.3
REV 0 | - | -100S3 | BPCV_CA12OP602 | CA12OP602 | =NT23++CA12+OP602-100S3 | CA12_OP602_100S3_CLOSURE | CLOSURE | ++CA12+OP602 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 13 | Q37.4
REV 0 | - | -100P1 | BPCV_CA12OP602 | CA12OP602 | =NT23++CA12+OP602-100P1 | CA12_OP602_100P1_FAULT | FAULT | ++CA12+OP602 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 14 | Q37.5
REV 0 | - | -507K1 | AUX |  | =NT23++AE00+MCPCA12-507K1 | MCPCA12_507K1_UP_STOP_DOWN_STOP_ANTI_INTRUSION_DAMPER_CA12_SD011 | UP, STOP, DOWN, STOP ANTI-INTRUSION DAMPER ++CA12+SD011 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 15 | Q37.6
REV 2 | - | -507K2 | AUX |  | =NT23++AE00+MCPCA12-507K2 | MCPCA12_507K2_SPARE_ANTI_INTRUSION_DAMPER_CA12_SD011 | SPARE ANTI-INTRUSION DAMPER ++CA12+SD011 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K4 | 16 | Q37.7
REV 2 | - | -508K1 | AUX |  | =NT23++AE00+MCPCA12-508K1 | MCPCA12_508K1_SPARE_ANTI_INTRUSION_DAMPER_CA12_SD011 | SPARE ANTI-INTRUSION DAMPER ++CA12+SD011 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 1 | Q38.0
REV 2 | - | -508K2 | AUX |  | =NT23++AE00+MCPCA12-508K2 | MCPCA12_508K2_SPARE_ANTI_INTRUSION_DAMPER_CA12_SD011 | SPARE ANTI-INTRUSION DAMPER ++CA12+SD011 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 2 | Q38.1
REV 0 | - | -508K3 | AUX |  | =NT23++AE00+MCPCA12-508K3 | MCPCA12_508K3_ANOMALY_ANTI_INTRUSION_DAMPER_CA12_SD011 | ANOMALY ANTI-INTRUSION DAMPER ++CA12+SD011 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 3 | Q38.2
REV 0 | - | -508K4 | AUX |  | =NT23++AE00+MCPCA12-508K4 | MCPCA12_508K4_UP_STOP_DOWN_STOP_ANTI_INTRUSION_DAMPER_CA12_SD021 | UP, STOP, DOWN, STOP ANTI-INTRUSION DAMPER ++CA12+SD021 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 4 | Q38.3
REV 2 | - | -508K5 | AUX |  | =NT23++AE00+MCPCA12-508K5 | MCPCA12_508K5_SPARE_ANTI_INTRUSION_DAMPER_CA12_SD021 | SPARE ANTI-INTRUSION DAMPER ++CA12+SD021 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 5 | Q38.4
REV 2 | - | -508K6 | AUX |  | =NT23++AE00+MCPCA12-508K6 | MCPCA12_508K6_SPARE_ANTI_INTRUSION_DAMPER_CA12_SD021 | SPARE ANTI-INTRUSION DAMPER ++CA12+SD021 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 6 | Q38.5
REV 2 | - | -508K7 | AUX |  | =NT23++AE00+MCPCA12-508K7 | MCPCA12_508K7_SPARE_ANTI_INTRUSION_DAMPER_CA12_SD021 | SPARE ANTI-INTRUSION DAMPER ++CA12+SD021 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 7 | Q38.6
REV 0 | - | -508K8 | AUX |  | =NT23++AE00+MCPCA12-508K8 | MCPCA12_508K8_ANOMALY_ANTI_INTRUSION_DAMPER_CA12_SD021 | ANOMALY ANTI-INTRUSION DAMPER ++CA12+SD021 | ++AE00+MCPCA12 |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 8 | Q38.7
REV 0 | - | -500X1:14 |  |  | =NT23++AE00+MCPCA12-500X1:14 | MCPCA12_500X1_14_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 9 | Q39.0
REV 0 | - | -500X1:16 |  |  | =NT23++AE00+MCPCA12-500X1:16 | MCPCA12_500X1_16_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 10 | Q39.1
REV 0 | - | -500X1:18 |  |  | =NT23++AE00+MCPCA12-500X1:18 | MCPCA12_500X1_18_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 11 | Q39.2
REV 0 | - | -500X1:20 |  |  | =NT23++AE00+MCPCA12-500X1:20 | MCPCA12_500X1_20_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 12 | Q39.3
REV 0 | - | -500X1:22 |  |  | =NT23++AE00+MCPCA12-500X1:22 | MCPCA12_500X1_22_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 13 | Q39.4
REV 0 | - | -500X1:24 |  |  | =NT23++AE00+MCPCA12-500X1:24 | MCPCA12_500X1_24_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 14 | Q39.5
REV 0 | - | -500X1:26 |  |  | =NT23++AE00+MCPCA12-500X1:26 | MCPCA12_500X1_26_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 15 | Q39.6
REV 0 | - | -500X1:28 |  |  | =NT23++AE00+MCPCA12-500X1:28 | MCPCA12_500X1_28_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K5 | 16 | Q39.7
REV 0 | - | -500X1:30 |  |  | =NT23++AE00+MCPCA12-500X1:30 | MCPCA12_500X1_30_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 1 | Q40.0
REV 0 | - | -500X1:32 |  |  | =NT23++AE00+MCPCA12-500X1:32 | MCPCA12_500X1_32_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 2 | Q40.1
REV 0 | - | -500X1:34 |  |  | =NT23++AE00+MCPCA12-500X1:34 | MCPCA12_500X1_34_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 3 | Q40.2
REV 0 | - | -500X1:36 |  |  | =NT23++AE00+MCPCA12-500X1:36 | MCPCA12_500X1_36_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 4 | Q40.3
REV 0 | - | -500X1:38 |  |  | =NT23++AE00+MCPCA12-500X1:38 | MCPCA12_500X1_38_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 5 | Q40.4
REV 0 | - | -500X1:40 |  |  | =NT23++AE00+MCPCA12-500X1:40 | MCPCA12_500X1_40_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 6 | Q40.5
REV 0 | - | -500X1:42 |  |  | =NT23++AE00+MCPCA12-500X1:42 | MCPCA12_500X1_42_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 7 | Q40.6
REV 0 | - | -500X1:44 |  |  | =NT23++AE00+MCPCA12-500X1:44 | MCPCA12_500X1_44_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 8 | Q40.7
REV 0 | - | -500X1:46 |  |  | =NT23++AE00+MCPCA12-500X1:46 | MCPCA12_500X1_46_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 9 | Q41.0
REV 0 | - | -500X1:48 |  |  | =NT23++AE00+MCPCA12-500X1:48 | MCPCA12_500X1_48_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 10 | Q41.1
REV 0 | - | -500X1:50 |  |  | =NT23++AE00+MCPCA12-500X1:50 | MCPCA12_500X1_50_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 11 | Q41.2
REV 0 | - | -500X1:52 |  |  | =NT23++AE00+MCPCA12-500X1:52 | MCPCA12_500X1_52_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 12 | Q41.3
REV 0 | - | -500X1:54 |  |  | =NT23++AE00+MCPCA12-500X1:54 | MCPCA12_500X1_54_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 13 | Q41.4
REV 0 | - | -500X1:56 |  |  | =NT23++AE00+MCPCA12-500X1:56 | MCPCA12_500X1_56_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 14 | Q41.5
REV 0 | - | -500X1:58 |  |  | =NT23++AE00+MCPCA12-500X1:58 | MCPCA12_500X1_58_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 15 | Q41.6
REV 0 | - | -500X1:60 |  |  | =NT23++AE00+MCPCA12-500X1:60 | MCPCA12_500X1_60_SPARE | SPARE |  |  |  |  | 1 |  |  |  | -340K1 | -341K6 | 16 | Q41.7
REV 0 | - | -T0001 |  | CA12ST001 | =NT23++CA12+ST001-T0001 | CA12_ST001_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+ST001 | [8 empty] | -T0001 | S1 | I1009.7
REV 0 | - | -T0001 |  | CA12ST001 | =NT23++CA12+ST001-T0001 | CA12_ST001_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+ST001 | [8 empty] | -T0001 | S2 | I1008.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1101 | PH_CA12ST001 | CA12ST001 | =NT23++CA12+ST001-B1101 | CA12_ST001_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++CA12+ST001 | [8 empty] | -T0001 | X5133_1:4 | I1009.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 0 | - | -T0001 |  | CA12ST003 | =NT23++CA12+ST003-T0001 | CA12_ST003_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+ST003 | [8 empty] | -T0001 | S1 | I1029.7
REV 0 | - | -T0001 |  | CA12ST003 | =NT23++CA12+ST003-T0001 | CA12_ST003_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+ST003 | [8 empty] | -T0001 | S2 | I1028.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1101 | PH_CA12ST003 | CA12ST003 | =NT23++CA12+ST003-B1101 | CA12_ST003_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++CA12+ST003 | [8 empty] | -T0001 | X5133_1:4 | I1029.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - | -B7701 | PH_CA12OG103 |  |  | _ | [12 empty] | I1029.3
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 0 | - | -T0001 |  | CA12ST005 | =NT23++CA12+ST005-T0001 | CA12_ST005_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+ST005 | [8 empty] | -T0001 | S1 | I1049.7
REV 0 | - | -T0001 |  | CA12ST005 | =NT23++CA12+ST005-T0001 | CA12_ST005_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+ST005 | [8 empty] | -T0001 | S2 | I1048.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1101 | PH_CA12ST005 | CA12ST005 | =NT23++CA12+ST005-B1101 | CA12_ST005_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++CA12+ST005 | [8 empty] | -T0001 | X5133_1:4 | I1049.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - |  |  |  |  | _SIZE_CONTROL | SIZE CONTROL | ++CA12+OG103 | [8 empty] | -T0001 | X5133_2:4 | I1049.3
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 0 | - | -T0001 |  | CA12ST007 | =NT23++CA12+ST007-T0001 | CA12_ST007_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+ST007 | [8 empty] | -T0001 | S1 | I1069.7
REV 0 | - | -T0001 |  | CA12ST007 | =NT23++CA12+ST007-T0001 | CA12_ST007_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+ST007 | [8 empty] | -T0001 | S2 | I1068.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1101 | PH_CA12ST007 | CA12ST007 | =NT23++CA12+ST007-B1101 | CA12_ST007_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++CA12+ST007 | [8 empty] | -T0001 | X5133_1:4 | I1069.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 0 | - | -T0001 |  | CA12ST015 | =NT23++CA12+ST015-T0001 | CA12_ST015_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+ST015 | [8 empty] | -T0001 | S1 | I1089.7
REV 0 | - | -T0001 |  | CA12ST015 | =NT23++CA12+ST015-T0001 | CA12_ST015_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+ST015 | [8 empty] | -T0001 | S2 | I1088.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1101 | PH_CA12ST015 | CA12ST015 | =NT23++CA12+ST015-B1101 | CA12_ST015_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++CA12+ST015 | [8 empty] | -T0001 | X5133_1:4 | I1089.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 0 | - | -T0001 |  | CA12ST017 | =NT23++CA12+ST017-T0001 | CA12_ST017_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+ST017 | [8 empty] | -T0001 | S1 | I1109.7
REV 0 | - | -T0001 |  | CA12ST017 | =NT23++CA12+ST017-T0001 | CA12_ST017_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+ST017 | [8 empty] | -T0001 | S2 | I1108.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1601 | PH_CA12ST017 | CA12ST017 | =NT23++CA12+ST017-B1601 | CA12_ST017_B1601_JAM_DETECTION | JAM DETECTION | ++CA12+ST017 | [8 empty] | -T0001 | X5133_1:4 | I1109.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 0 | - | -B1101 | PH_CA12ST017_1 | CA12ST017 | =NT23++CA12+ST017-B1101 | CA12_ST017_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++CA12+ST017 | [8 empty] | -T0001 | X5133_2:4 | I1109.3
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 0 | - | -T0001 |  | CA12ST019 | =NT23++CA12+ST019-T0001 | CA12_ST019_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+ST019 | [8 empty] | -T0001 | S1 | I1129.7
REV 0 | - | -T0001 |  | CA12ST019 | =NT23++CA12+ST019-T0001 | CA12_ST019_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+ST019 | [8 empty] | -T0001 | S2 | I1128.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 0 | - | -B1601 | PH_CA12ST019 | CA12ST019 | =NT23++CA12+ST019-B1601 | CA12_ST019_B1601_JAM_DETECTION | JAM DETECTION | ++CA12+ST019 | [8 empty] | -T0001 | X5133_1:4 | I1129.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 2 | - | -B1101 | PH_CA12ST019_1 | CA12ST019 | =NT23++CA12+ST019-B1101 | CA12_ST019_B1101_STOP_HEAD_PHOTOCELL | STOP HEAD PHOTOCELL | ++CA12+ST019 | [8 empty] | -T0001 | X5133_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 2 | - | -T0001 |  | CA12CA028 | =NT23++CA12+CA028-T0001 | CA12_CA028_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+CA028 | [8 empty] | -T0001 | S1 | I1149.7
REV 2 | - | -T0001 |  | CA12CA028 | =NT23++CA12+CA028-T0001 | CA12_CA028_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+CA028 | [8 empty] | -T0001 | S2 | I1148.0
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 2 | - | -B2001 | PH_CA12CA028_1 | CA12CA028 | =NT23++CA12+CA028-B2001 | CA12_CA028_B2001_CAROUSEL_PITCH_CONTROL_SENSOR | CAROUSEL PITCH CONTROL SENSOR | ++CA12+CA028 | [8 empty] | -T0001 | X5133_1:4 | I1149.1
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 2 | - | -B2002 | PH_CA12CA028_2 | CA12CA028 | =NT23++CA12+CA028-B2002 | CA12_CA028_B2002_GROUP_INSERTERD | GROUP INSERTERD | ++CA12+CA028 | [8 empty] | -T0001 | X5133_2:4 | I1149.3
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 0 | - |  |  | CA12CA028 | =NT23++CA12+CA028-B2002 | CA12_CA028_B2002_GROUP_ROTATING | GROUP ROTATING | ++CA12+CA028 | [8 empty] | -T0001 | X5133_3:4 | I1169.5
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 0 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4
REV 2 | - | -T0001 |  | CA12CA039 | =NT23++CA12+CA039-T0001 | CA12_CA039_T0001_SAFETY_SWITCH_POWER_SUPPLY_400V | SAFETY SWITCH POWER SUPPLY 400V | ++CA12+CA039 | [8 empty] | -T0001 | S1 | I1169.7
REV 2 | - | -T0001 |  | CA12CA039 | =NT23++CA12+CA039-T0001 | CA12_CA039_T0001_KEY_SWITCH_LOCAL_MODE | KEY SWITCH LOCAL MODE | ++CA12+CA039 | [8 empty] | -T0001 | S2 | I1168.0
REV 2 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_1:2
REV 2 | - | -B2001 | PH_CA12CA039_1 | CA12CA039 | =NT23++CA12+CA039-B2001 | CA12_CA039_B2001_CAROUSEL_PITCH_CONTROL_SENSOR | CAROUSEL PITCH CONTROL SENSOR | ++CA12+CA039 | [8 empty] | -T0001 | X5133_1:4 | I1169.1
REV 2 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_2:2
REV 2 | - | -B2002 | PH_CA12CA039_2 | CA12CA039 | =NT23++CA12+CA039-B2002 | CA12_CA039_B2002_GROUP_INSERTERD | GROUP INSERTERD | ++CA12+CA039 | [8 empty] | -T0001 | X5133_2:4 | I1169.3
REV 2 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5133_3:2
REV 2 | - | -B6901 | PH_CA12CA023 | CA12CA023 | =NT23++CA12+CA023-B6901 | CA12_CA023_B6901_BOOKING_PHOTOCELL | BOOKING PHOTOCELL | ++CA12+CA023 | [8 empty] | -T0001 | X5133_3:4 | I1169.5
REV 2 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_1:4
REV 2 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_2:4
REV 2 | - |  |  |  |  | _SPARE | SPARE | [9 empty] | -T0001 | X5137_3:4